## Sheet1
"Safety-Norms-Cleanliness" Laboratory Self-check (Inspection) Form
Department Name |  | Center Name |  | Laboratory Doorplate |  |  | Filled by
Safety Responsible Person/PI (Laboratory Supervisor): |  |  | Specific Responsible Person (Experimental Operator): |  | Safety Officer |  | Self-check Date
SN | Inspection Items and Content (Items marked with * are key items, must be strictly implemented) |  |  |  |  | Pass/Fail | Improvement Measures
(1) System management
1.1 | The safety system is sound, with written documents posted on the wall.
1.2 | The laboratory safety responsible person, specific responsible person, and safety officer are in place. Information is displayed at the laboratory entrance.
1.3 | There is an contingency plan for emergencies, known to all experimental personnel
1.4 | Necessary warning signs are posted, including but not limited to lasers, high-temperature, high-pressure, toxic, radiation, and electrified equipment
1.5 | Nighttime and holiday experiments must be reported to the responsible person; someone must be on duty during experiments and not leave their post
1.6 | The laboratory has a hygiene and safety duty system, with records of duty situations
(2) Safety education
2.1 | All faculty and students and employees participating in experiments (including all foreign colleagues and students) must receive safety education (internal laboratory training), and new employees and students shall receive timely education and keep records
2.2 | Before conducting experiments, wear necessary protective equipment, including but not limited to lab coats, gloves, masks, lab shoes, and goggles
*2.3 | Eating and drinking are strictly prohibited in the laboratory
(3) Fire safety
3.1 | The laboratory's fire-fighting equipment is intact and within the service life
3.2 | Fire equipment and fire extinguishers are stored properly, convenient for use without obstruction
*3.3 | Safety passages are clear, with no obstacles or debris
*3.4 | Areas with open flames such as alcohol lamps shall be designated as safe zones, with signs posted, away from flammable and explosive materials such as gas cylinders, and prohibited from storing miscellaneous materials and consumables, leaving enough operating space and equipped with fire-fighting equipment. Open flames are strictly prohibited in other areas.
3.5 | The construction and decoration of the laboratory shall meet fire safety requirements, and unused distribution boxes, sockets, water pipes, faucets, network cables, and gas pipelines shall be removed or sealed in a timely manner.
(4) Instruments and equipment, water, and electricity safety
4.1 | All instruments are used according to operational specifications, and users have undergone training; the use of shared instruments must be properly registered in the Scientific Research Equipment Use Registration Book.
4.2 | Maintenance and repair records of instruments and equipment are established. Faulty equipment shall be reported for repair, with a fault warning sign hung during shutdown to prevent accidental operation; valuable equipment, optical equipment, and electrified equipment shall not be placed under air outlets;
4.3 | The switches and operation buttons of instruments and equipment are intact, with no hidden dangers of electric shock or water leakage. No aging or overloaded circuits
4.4 | Complex, precise, and high-risk equipment shall be maintained by dedicated personnel, and their names and contact information shall be posted near the equipment
4.5 | When leaving the laboratory, turn off the water, electricity, and gas sources (except for those that need to remain on constantly, ensuring safety)
4.6 | The power strips in the laboratory shall not be placed directly on the ground but hung high away from heat sources and water sources; the wires shall not be dragged on the ground; multiple power strips shall not be connected in series for power supply; please use new national standard power strips and cables; the total power of electrical appliances on the power strip must not exceed the power of the strip (usually 2.5kW);
4.7 | Check whether the emergency shower and eye wash in the laboratory are working properly and spraying clear water. If rusty or dirty water is sprayed, repair it promptly. Emergency showers shall be installed in locations with unobstructed access between the installation point and the work area
4.8 | The fume hood is properly configured, in normal use, and operated in compliance
(5) Management of hazardous chemicals (skip if not applicable)
5.1 | Hazardous chemicals are stored in classifications, with acids, bases, and organic reagents stored separately, and oxidizers and reducers stored separately; solids and liquids are stored separately (liquids below solids in the same cabinet); different types of reagents are not placed on the same layer; labels on each reagent bottle are clear;
5.2 | All hazardous chemicals shall be recorded in and out; separately ledgers for precursor chemicals and explosive chemicals, and store them under lock and key;
5.3 | The caps of reagent bottles are tightly closed with no openings; glass bottles, chemicals, drugs, etc., are stored at a height not exceeding 2m (accessible by reaching out on flat ground); all containers must be labeled.
*5.4 | Expired or scrapped chemicals shall be disposed of promptly, and shall not be deposited deep in the laboratory; chemicals left by departing personnel should be handed over properly
*5.5 | Faculty and students and employees using chemicals shall understand their hazardous characteristics, necessary protective measures, and emergency procedures, and their use shall comply with regulations
(6) Gas cylinders and pressure vessel management (skip if not applicable)
*6.1 | Flammable gas cylinders shall be supplied in a separate entity wall cylinder room, and if this is not possible, they must be stored in a special gas cabinet, equipped with centralized gas supply and flammable gas alarm devices; away from dangerous equipment such as electrified, high-pressure, and heat-producing equipment.
6.2 | Gas cylinders are securely placed (fixed with cylinder racks, with iron chains pulled up). Accessories such as pressure gauges, pressure relief valves, safety valves, gas circuits, and leak alarms on gas cylinders are inspected regularly and shall be qualified;
6.3 | The colors and types of gas cylinders are clearly marked, and warning signs for toxic, flammable, and explosive gases are posted if necessary;
*6.4 | Flammable and combustible gases must be stored away from each other and away from open flames and high-temperature equipment. Gas pipeline shall not be dragged on the ground.
*6.5 | Faculty and students and employees using gas shall understand their hazardous characteristics, necessary protective measures, and emergency procedures, and their use shall comply with regulations
6.6 | Unused gas cylinders have cylinder caps, no expired cylinders; confirm the "full, in use, used up" three states; the body has shock-absorbing rubber rings;
(7) Hygiene and waste management
7.1 | Medical and domestic waste shall be classified. Gloves, masks, and experimental consumables that may be contaminated with chemical reagents and cells after experiments shall be thrown into yellow medical waste bins. Domestic waste, product packaging, and items not directly in contact with experiments shall be thrown into black domestic waste bins; needles shall be placed in sharps containers, capped after filling, sealed with tape, and placed in yellow medical waste bins; plastic syringe tips do not need to be placed in sharps containers; waste liquid is collected in waste liquid barrels, with labels on the barrels, placed on leak-proof trays;
7.2 | The laboratory floor, countertops, and cabinets shall be clean, with no garbage littered around
*7.3 | Excessive flammable materials and consumables are prohibited from being stored in the experimental operation area, such as flammable chemicals, high-temperature and high-pressure heat sources, safety passages, fume hoods, clean workbenches, and peripheral areas of firefighting equipment, spray facilities, and electrical wells;
7.4 | The laboratory sink is strictly prohibited from discarding garbage, syringe needles, glass, etc.
7.5 | The laboratory zones are relatively independent, with toxic and hazardous experimental areas clearly separated from study areas
1. Please conduct self-check by research center (ensure that each laboratory in the center is inspected), and responsible persons and safety officers in large laboratories can be multiple persons. 2. When conducting self-check, print this form double-sided and manually fill in "Pass/Fail" for each item, clearly stating the problems and improvement measures for non-compliance. Do not mark "Pass" if problems are found, the laboratory will not be rated "C" due to a few non-compliance issues. Focus on how to solve the problems. 3. After self-check is completed, the form is signed by the laboratory responsible person before taking effect, or authorized by other PI to sign. Unsigned forms are invalid. Safety Responsible Person (Signature): Date: Representative of Experimental Personnel (Signature): Date: Safety Officer (Signature): Date: